251.908 8 INCH PERFORATED PVC PIPE LINEAR FOOT

251.912 12 INCH PERFORATED PVC PIPE LINEAR FOOT

251.924 24 INCH PERFORATED PVC PIPE LINEAR FOOT

GENERAL

The work under this item shall consist of furnishing, placing and backfilling perforated PVC drainage pipes as part of green infrastructure components.

Perforated PVC pipe shall be as specified and installed as required by the Boston Water and Sewer Commission Standard Specifications.

METHOD OF MEASUREMENT

8 Inch Perforated PVC Pipe will be measured for payment by the linear foot, complete in place. No deductions shall be made for the length of wye-branches or other fittings.

12 Inch Perforated PVC Pipe will be measured for payment by the linear foot, complete in place. No deductions shall be made for the length of wye-branches or other fittings.

24 Inch Perforated PVC Pipe will be measured for payment by the linear foot, complete in place. No deductions shall be made for the length of wye-branches or other fittings.

BASIS OF PAYMENT

8 Inch Perforated PVC Pipe will be paid for at the Contract unit price per linear foot which price shall include all labor, materials, equipment, and incidental costs necessary to complete the work. No separate payment will be made for excavation, furnishing and installing (including joining) pipe and fittings (including but not limited to wyes, tees, and couplings), and furnishing, placing, and compacting backfill material, but all costs in connection therewith shall be included in the Contract unit price bid.

12 Inch Perforated PVC Pipe will be paid for at the Contract unit price per linear foot which price shall include all labor, materials, equipment, and incidental costs necessary to complete the work. No separate payment will be made for excavation, furnishing and installing (including joining) pipe and fittings (including but not limited to wyes, tees, and couplings), and furnishing, placing, and compacting backfill material, but all costs in connection therewith shall be included in the Contract unit price bid.

24 Inch Perforated PVC Pipe will be paid for at the Contract unit price per linear foot which price shall include all labor, materials, equipment, and incidental costs necessary to complete the work. No separate payment will be made for excavation, furnishing and installing (including joining) pipe and fittings (including but not limited to wyes, tees, and couplings), and furnishing, placing, and compacting backfill material, but all costs in connection therewith shall be included in the Contract unit price bid.