ITEM 269.08 8 INCH SLOT-PERFORATED CORRUGATED LINEAR FOOT

PLASTIC PIPE (SUBDRAIN)

ITEM 269.12 12 INCH SLOT-PERFORATED CORRUGATED LINEAR FOOT

PLASTIC PIPE (SUBDRAIN)

ITEM 269.24 24 INCH SLOT-PERFORATED CORRUGATED LINEAR FOOT

PLASTIC PIPE (SUBDRAIN)

GENERAL

The work under this item shall consist of furnishing, placing and backfilling slot-perforated corrugated plastic pipe as part of green infrastructure components.

Slot-perforated corrugated plastic pipe shall conform to the Massachusetts Department of Transportation Standard Specifications for Highways and Bridges.

METHOD OF MEASUREMENT

8 Inch Slot-Perforated Corrugated Plastic Pipe (Subdrain) will be measured for payment by the linear foot, complete in place. No deductions shall be made for the length of wye- branches or other fittings.

12 Inch Slot-Perforated Corrugated Plastic Pipe (Subdrain) will be measured for payment by the linear foot, complete in place. No deductions shall be made for the length of wye- branches or other fittings.

24 Inch Slot-Perforated Corrugated Plastic Pipe (Subdrain) will be measured for payment by the linear foot, complete in place. No deductions shall be made for the length of wye- branches or other fittings.

BASIS OF PAYMENT

8 Inch Slot-Perforated Corrugated Plastic Pipe (Subdrain) will be paid for at the Contract unit price per linear foot, which price shall include all labor, materials, equipment, and incidental costs required to complete the work. No separate payment will be made for excavation and furnishing and installing (including joining) pipe and fittings (including but not limited to wyes, tees and couplings), but all costs in connection therewith shall be included in the Contract unit price bid.

12 Inch Slot-Perforated Corrugated Plastic Pipe (Subdrain) will be paid for at the Contract unit price per linear foot, which price shall include all labor, materials, equipment, and incidental costs required to complete the work. No separate payment will be made for excavation and furnishing and installing (including joining) pipe and fittings (including but not limited to wyes, tees and couplings), but all costs in connection therewith shall be included in the Contract unit price bid.

24 Inch Slot-Perforated Corrugated Plastic Pipe (Subdrain) will be paid for at the Contract unit price per linear foot, which price shall include all labor, materials, equipment, and incidental costs required to complete the work. No separate payment will be made for excavation and furnishing and installing (including joining) pipe and fittings (including but not limited to wyes, tees and couplings), but all costs in connection therewith shall be included in the Contract unit price bid.

No. 57 stone will be paid for separately under Item 156.057, Washed No. 57 Stone.

Non-Woven Geotextile will be paid for separately under Item 698.3, Non-Woven Geotextile Fabric.